## OP Tools & Supplies List
Operator Tools & Supplies Checklist
System Name:
Operator Name:
Date:
Item # | Quantity | Item | Purpose | ✓
Daily Tasks
1 | 1 pair | Foot protection (protective shoes) | Personal protective equipment | ❑
2 | 1 | Hard hat | Personal protective equipment | ❑
3 | 1 | Eye Protection | Personal protective equipment | ❑
4 | 1 | Respiratory protection | Personal protective equipment | ❑
5 | 1 pair | Gloves | Personal protective equipment | ❑
7 | 1 | Writing utensil (pen/pencil | Data recording | ❑
8 | 1 | Daily Water Production Form | Data recording | ❑
9 | 1 | Daily Maintenance Form | Data recording | ❑
10 | 1 | Ladder | Inspecting solar array and structures | ❑
11 | 1 | Chlorine Test Kit with Reagents | Testing residual chlorine (water quality) | ❑
12 | 1 | Turbidity Test Kit (if needed) | Testing turbidity (water quality) | ❑
Weekly Tasks (the following are needed in addition to the above for weekly mainenance tasks)
13 | 1 | Soft (non-abrasive) sponge/cloth or long-handled soft brush | Washing solar panels | ❑
14 | 1 bucket | Clean water (no soap!) | Washing solar panels | ❑
15 | 1 | Squeegee (or dry, clean cloth) | Washing solar panels | ❑
16 | 1 | Broom | Removing cobwebs, debris, etc. | ❑
17 | 1 | Dry, soft cloth | Wiping components/removing dust | ❑
18 | 1 | Wrench or screwdriver | Tightening bolts, as needed | ❑
19 | 1 | Pipe wrench | Tightening pipe fittings, as needed | ❑
20 | 5 | Chlorine tablets | Refilling treatment, as needed | ❑

## Daily O&M Checklist
Daily Maintenance Tasks Form
System Name:
Operator Name:
Date:
Task | Complete? ✓ | Form for Reporting
Routine Operation
Follow the proper pumping procedures. | ❑
Maintain a consistent pumping schedule. | ❑
General Site
Keep all doors and fenced gates closed and locked. | ❑ | Daily Maintenance Tasks Form
Check for and remove all waste or debris. | ❑ | Daily Maintenance Tasks Form
Solar Array
Record the weather conditions (sunny, cloudy, raining). | ❑ | Daily Maintenance Tasks Form
Check the surface of the solar panels and remove debris. | ❑ | Daily Maintenance Tasks Form
Check the solar panels for dust or dirt. Clean if necessary. | ❑ | Daily Maintenance Tasks Form
Check the solar panels for damage, cracks, or broken glass. | ❑ | Daily Maintenance Tasks Form
Electrical House
Check that covers are tightly closed on all electrical boxes. | ❑
Record pumping times (start and end). | ❑ | Daily Water Production Form
Record electrical paramaters from pump controller. | ❑ | Daily Maintenance Tasks Form
Record any alarms (if present) from pump controller. | ❑ | Daily Maintenance Tasks Form
Well & Pump
Record water meter readings (start and end). | ❑ | Daily Water Production Form
Record pump pressure (at same time each day). | ❑ | Daily Maintenance Tasks Form
Check for leaks in the piping and connections. | ❑ | Daily Maintenance Tasks Form
Water Tank, Distribution, & Community Access Points
Check water tank for signs of overflow. | ❑ | Daily Maintenance Tasks Form
Check residual chlorine (and turbidity, if applicable). | ❑ | Daily Water Production Form
Record any community feedback. | ❑ | Daily Maintenance Tasks Form

## Daily Water Production Form
Daily Water Production Form
System Name: | [5 empty] | Water Meter Units (circle one): cubic meters litres gallons cubic feet
Operator Name:
Day | Date | Solar |  |  |  | AC |  |  |  | Total Daily Water Production | Water Quality
|  | Time |  | Meter |  | Time |  | Meter |  |  | Closest Tap | Farthest Tap
|  | Start | End | Start | End | Start | End | Start | End
1 | [10 empty] | Chlorine (ppm) | Chlorine (ppm)
[11 empty] | Turbidity (NTU) | Turbidity (NTU)
2 | [10 empty] | Chlorine (ppm) | Chlorine (ppm)
[11 empty] | Turbidity (NTU) | Turbidity (NTU)
3 | [10 empty] | Chlorine (ppm) | Chlorine (ppm)
[11 empty] | Turbidity (NTU) | Turbidity (NTU)
4 | [10 empty] | Chlorine (ppm) | Chlorine (ppm)
[11 empty] | Turbidity (NTU) | Turbidity (NTU)
5 | [10 empty] | Chlorine (ppm) | Chlorine (ppm)
[11 empty] | Turbidity (NTU) | Turbidity (NTU)
6 | [10 empty] | Chlorine (ppm) | Chlorine (ppm)
[11 empty] | Turbidity (NTU) | Turbidity (NTU)
7 | [10 empty] | Chlorine (ppm) | Chlorine (ppm)
[11 empty] | Turbidity (NTU) | Turbidity (NTU)

## Daily Maintenance Form
Daily Maintenance Form
System Name: |  |  |  |  | Pressure Gauge Units (circle one): PSI bar other:______________________
Operator Name: |  |  |  |  | Power Units (circle one): kW W hp other:_________________________
Day | Date | Weather | Wellhead | Pump Controller |  |  | Notes
|  | (circle one) | Pressure | Power |  | Alarms? | General, Solar Array, Community Feedback, etc.
1 |  | ☀️ | 10:00 | 10:00
|  | ☁️ | 12:00 | 12:00
|  | 🌧️ | 14:00 | 14:00
2 |  | ☀️ | 10:00 | 10:00
|  | ☁️ | 12:00 | 12:00
|  | 🌧️ | 14:00 | 14:00
3 |  | ☀️ | 10:00 | 10:00
|  | ☁️ | 12:00 | 12:00
|  | 🌧️ | 14:00 | 14:00
4 |  | ☀️ | 10:00 | 10:00
|  | ☁️ | 12:00 | 12:00
|  | 🌧️ | 14:00 | 14:00
5 |  | ☀️ | 10:00 | 10:00
|  | ☁️ | 12:00 | 12:00
|  | 🌧️ | 14:00 | 14:00
6 |  | ☀️ | 10:00 | 10:00
|  | ☁️ | 12:00 | 12:00
|  | 🌧️ | 14:00 | 14:00
7 |  | ☀️ | 10:00 | 10:00
|  | ☁️ | 12:00 | 12:00
|  | 🌧️ | 14:00 | 14:00

## Weekly Maintenance Checklist
Weekly Maintenance Checklist
System Name:
Operator Name:
Date:
Task | ✓ | Notes
General Site
Check all doors, fence gates, and fencing. | ❑
Check for unauthorized modifications to the system. | ❑
Check the area for animal activity. | ❑
Solar Array
Wash the solar panels.* | ❑
Check for and remove all sources of shading on the panels. | ❑
Check for and safely remove spider webs, bird nests, or other insects. | ❑
Check that the solar panels are securely mounted to the solar structure. Tighten loose bolts.** | ❑
Check that all electrical boxes are closed, sealed, and properly/securely mounted. | ❑
Visually check for disconnected, loose, or damaged wiring.* | ❑
Visually check the grounding system for loose, missing, or corroded connections.* | ❑
Check the solar structure for damage, cracks, or rust.* | ❑
Electrical House
Visually inspect the structure for damage or cracks (walls, foundation, roof, conduit entrances). | ❑
Gently wipe the outside of all electrical boxes with a dry cloth to remove dust and cobwebs. | ❑
Check that all electrical boxes are closed, sealed, and properly/securely mounted. | ❑
Visually check for disconnected, loose, or damaged wiring. | ❑
Visually check the grounding system for loose, missing, or corroded connections. | ❑
Well & Pump
Check that the wellhead is sealed and undamaged, including the well cap and piping. | ❑
Check that the support cable (safety rope) is securely connected at the top of the wellhead. | ❑
Visually check for disconnected, loose, or damaged wiring. | ❑
Clean the area using a dry cloth. Gently wipe the components to remove dust and cobwebs | ❑
Water Treatment House
Visually inspect the structure for damage or cracks (walls, foundation, roof, conduit entrances). | ❑
Gently wipe all components with a dry cloth to remove dust and cobwebs. | ❑
Check for leaks along all piping, pipe connections, valves, and water treatment equipment. | ❑
Check and refill water treatment chemicals, as needed. | ❑
Check that water treatment chemicals are properly stored, and the room is ventilated. | ❑
Pressure Line
Check for exposed pipes. | ❑
Check for leaks along the pipe and at all valves, pipe connections, and fittings. | ❑
Check for damage (cracks or bends along the pipe and on any valves). | ❑
Water Tank, Distribution, & Community Access Points
Ensure that the lid on the water tank is secure and not damaged or missing. | ❑
Visually inspect the water tank for cracking, damage, or leaks. | ❑
Visually inspect the tank structure or tank stand for damage, leaking or leaning. | ❑
Check for exposed pipes. | ❑
Check for leaks along the distribution pipe and at all valves, pipe connections, and fittings. | ❑
Check if the taps at the community access points are damaged, loose, or leaking. | ❑
Check if the taps at community access points are stuck, blocked, or have missing handles. | ❑
Check that water is flowing at all community access points with good flow and pressure. | ❑
Community Feedback
Gather feedback from community members at each access point (Is there enough water? Is the water acceptable? etc.) | ❑
Any Other Comments?
x _______________________________________ |  | _________________
Operator Signature |  | Date
SUBMIT TO SYSTEM MANAGEMENT WITH DAILY WATER PRODUCTION FORM

## Weekly Tools & Supplies Inv.
Weekly Tools & Supplies Inventory Form
System Name: |  |  | Date:
Operator Name:
# | Item | Minimum Needed | Quantity on Hand | Restock ✓ | Repair ✓ | Replace ✓ | Notes
1 | Foot protection (protective shoes) | 1 pair per person |  | ❑ | ❑ | ❑
2 | Hard hat | 1 per person |  | ❑ | ❑ | ❑
3 | Eye protection | 1 pair per person |  | ❑ | ❑ | ❑
4 | Gloves (nitrile, disposable) | 50 pairs |  | ❑ | ❑ | ❑
5 | Writing untensils (pens/pencils) | 3 |  | ❑ | ❑ | ❑
6 | Ladder | 1 |  | ❑ | ❑ | ❑
7 | Chlorine Test Kit | 1 |  | ❑ | ❑ | ❑
8 | Free chlorine reagents | 50 satchets |  | ❑ | ❑ | ❑
9 | Turbidity Test Kit (if applicable) | 1 |  | ❑ | ❑ | ❑
10 | Chlorine tablets *Or other water treatment | 10 tablets |  | ❑ | ❑ | ❑
11 | Soft (non-abrazive) sponge *Or long-handled soft brush | 1 |  | ❑ | ❑ | ❑
12 | Bucket (for clean water) | 1 |  | ❑ | ❑ | ❑
13 | Squeegee | 1 |  | ❑ | ❑ | ❑
14 | Soft cloth (dry and clean) | 2 |  | ❑ | ❑ | ❑
15 | Tool bag | 1 |  | ❑ | ❑ | ❑
16 | Adjustable wrenches *Set with various sizes | 1 set |  | ❑ | ❑ | ❑
17 | Screwdrivers *Set with various sizes | 1 set |  | ❑ | ❑ | ❑
18 | Pipe wrench *Or channel-lock pliers | 1 |  | ❑ | ❑ | ❑
19 | Broom |  |  | ❑ | ❑ | ❑
20 | Shovel | 1 |  | ❑ | ❑ | ❑
21 | Fuses *Sizes depend on system | 3 each |  | ❑ | ❑ | ❑